## Modern-Chemical Methods of Chemical Analysis

Course-Nr.: 303-711

First Semester 2011/2012

Dr. Maha F. Tutunji

Grading System:

1st Exam: 16/11 (sat)			20 points

2nd Exam: 21/12 (sat)			20 points

Tutorials, Seminars of (20 min)		20 points

for each student

Final Exam: To be assigned		40 points

References:

1)	Principles of Instrumental Analysis  (Fifth Edition) (Harcourt)

Skoog Holler. Nieman

2) 	Statistics and Chemometrics for Analytical Chemistry – Fourth Editon James N. Miller and Jane C. Miller

3) 	Capillary Electrophoresis in Analytical Biotechnology CRC series pier Giorgio Righetti

4) 	The following manuals will be photocpies.

  - Quantifying Uncertainty in Analytical Measurement EURACHEM/ CITAC Guide.

  - The Fitness for purpose of Analytical Methods

A laboratory Guide to Method Validation and Related Topics.

# Course Contents

From statistics and chemometrics for analytical chemistry.

1)	Introduction

2) 	Statistics of repeated measurements

2.1 	Mean and standard deviation					20

2.2 	The distribution of repeated measurements			22

2.3 	Log-normal distribution						26

2.4 	Definition of a “sample”						28

2.5 	The sampling distribution of the mean				29

2.6 	Confidence limits of the mean for large samples		31

2.7 	Confidence limits of the mean for small samples		31

2.8 	Presentation of results						32

2.9 	Other uses of confience limits					33

2.10 	Confidence limits of the geometric mean for a		34

log-normal distribtuion

2.11	Propagation of random errors					35

2.12	Propagation of systematic errors					38

3) 	Significance tests

3.1 	Introduction								42

3.2 	Comparison of an experimental mean with a known value	42

3.3 	Comparison of two experimental means			44

3.4 	Pairet t-test								48

3.5 	One-sided and two-sided tests					50

3.6 	F-test for the comparison of standard deviations		52

3.7 	Outliers								54

3.8 	Analysis of variance							57

3.9 	Comparison of several means					58

3.10 	The arithmetic of ANOVA calculations				61

3.11 	The chi-squared test						64

3.12 	Testing for normality of distribution				66

3.13 	Conclusions for significance tests				68

4) 	The quality of analytical measurements				75

4.1 	Introduction.								75

4.2 	Sampling								76

4.3 	Separation and estimation of variances using AVOVA	77

4.4 	Sampling strategy							79

4.5 	Quality control methods-Introduction				80

4.6 	Shewhart charts for mean values				80

4.7 	Shewhart charts for ranges					82

4.8 	Establishing the process capability				85

4.9 	Average run length: cusum charts				87

4.10 	Proficiency testing schemes					90

4.11 	Collaborative trials							93

4.12 	Uncertainty								98

4.13 	Acceptance sampling					         101

5. Separation Methods							          673

| Chapter 26 | An Introduction to Chromatographic Separations | 674 |
| --- | --- | --- |
| 26A | A General Description of Chromatography | 675 |
| 26B | Migration Rates of Solutes | 678 |
| 26C | Zone Broadening and Column Efficiency | 680 |
| 26D | Optimization of Column Performance | 687 |
| 26E | Summary of Important Relationships for Chromatography | 695 |
| Chapter 27 | Gas Chromatography 701 |  |
| 27A | Principles of Gas-Liquid Chromatography | 702 |
| 27B | Instruments for Gas-Liquid Chromatography | 703 |
| 27C | Gas Chromatographic Columns and Stationary Phases | 711 |
| Chapter 28 | High-Performance Liquid Chromatography 725 |  |
| 28A | Scope of HPLC | 726 |
| 28B | Column Efficiency in Liquid Chromatography | 726 |
| 28C | Instruments for Liquid Chromatography | 728 |
|  | Applications of HPLC |  |

6. Molecular Spectroscopy						          299

| Chapter 14 | Applications of Ultraviolet/Visible Molecular Absorption Spectrometry | 329 |
| --- | --- | --- |
| 14A | The Magnitude of Molar Absorptivities | 329 |
| 14B | Absorbing Species | 330 |
| 14C | Application of Absorption Measurement to Qualitative Analysis. | 340 |
| 14D | Quantitative Analysis by Absorption Measurements | 342 |
| 14E | Photometric Titrations | 347 |
| 14F | Photoacoustic Spectroscopy | 349 |
| 14G | Questions and Problems | 351 |
| Chapter 15 | Molecular Luminescence Spectrometry | 335 |
| 15A | Theory of Fluorescence and Phosphorescence | 356 |
| 15B | Instruments for Measuring Fluorescence and Phosphorescence | 365 |
| 15C | Applications and Photoluminescence Methods | 371 |
| 15D | Chemiluminescence | 374 |
| 15E | Questions and Problems | 377 |
| Chapter 17 | Applications of Infrared Spectrometry | 404 |
| 17A | Mid-Infrared Absorption Spectrometry | 404 |
| 17B | Mid-Infrared Reflection Spectrometry | 418 |
| 17C | Near-Infrared Spectroscopy | 422 |
| 17E | Far-Infrared Spectroscopy | 424 |
| 17F | Infrared Emission Spectroscopy | 425 |
| 17G | Infrared Microspectrometry | 425 |
| 17H | Questions and Problems | 426 |

| Chapter 18 | Raman Spectroscopy | 429 |
| --- | --- | --- |
| 18A | Theory of Raman Spectroscopy | 430 |
| 18B | Instrumentation | 435 |
| 18C | Applications of Raman Spectroscopy | 438 |
| 18D | Other Types of Raman Spectroscopy | 441 |
| 18E | Questions and Problems | 443 |
| Chapter 20 | Molecular Mass Spectrometry | 498 |
| 20A | Molecular Mass Spectra | 499 |
| 20B | Ion Sources | 499 |
| 20C | Mass Spectrometers | 511 |
| 20D | Applications of Molecular Mass Spectrometry | 524 |
| 20E | Quantitative Applications of Mass Spectrometry | 531 |
| 20F | Questions and Problems | 533 |
| Chapter 29 | Supercritical Fluid Chromatography and Extraction | 768 |
| 29A | Properties of Supercritical Fluids | 768 |
| 29B | Supercritical Fluid Chromatography | 769 |
| 29C | Supercritical Fluid Extraction | 774 |
| Chapter 20 | Capillary Electrophoresis and Capillary Electrochromatography | 778 |
| 30A | An Overview of Electrophoresis | 779 |
| 30B | Capillary Electrophoresis | 70 |
| 30C | Applications of Capillary Electrophoresis | 786 |
| 30D | Capillary Electrochromatography | 792 |

Seminars

Students should start preparing seminar projects (each 20 min lecture) related to one of the following topics:

1) Solid Phase Extraction (SPE) in the pharmaceutical and Environmental trace-analysis.

2. 	Derivatization techniques as a method for improving the chromatographic separation.

3.	Derivatization for improving the chromatographic detection.

4. 	Head-space analysis of volatile organic traces.

5.	Chromatographic Separation of enatiomeric  mixtures.

6.	Super-critical fluid chromatographic (SFC) (Theory and Applications).

7.	Alkali-flame ionization Detector with GC in the trace analysis.

8.	Electrochem. detection / HPLC in the trace analysis.

9. 	Capillary Electrophoresis Interfaced with Mass Spectrometry.

10.	Micellar Electrokinetic Chromatography in the analysis of Amino Acids and Peptides.

11.	Capillary zone electrophoresis for the analysis of peptides.

12. 	Extraction of drugs from a plasma matrix.